eco.inspections, Inc.

4708 Roundup Trail.

Austin, Texas 78745

Office: (512) 784-3429

www.ecoinspections.com

| Client: |  | Report ID: |  |
| --- | --- | --- | --- |
|  |  | Subject Property: |  |
| Address: | n/a | Address: |  |
| City: | - | City: | Austin |
| State: |  | State: | TX |
| Zip: |  | Zip: |  |
| Buyer’s Agent: |  | Email: | n/a |
| Office: |  |  |  |
| Seller’s Agent: |  | Email: | n/a |
| Office: |  |  |  |

##### Inspection Date:

Table of Contents

Cover Page

Table of Contents

TREC Notice

Additional Information provided by Inspector

How to read your report

I.    STRUCTURAL SYSTEMS

II.    ELECTRICAL SYSTEMS

III.    HEATING, VENTILATION, AND AIR CONDITIONING SYSTEMS

IV.    PLUMBING SYSTEM

V.    APPLIANCES

VI.    OPTIONAL SYSTEMS

Home Inspection Report Invoice

Wood Destroying Insect Report/Invoice (optional)

Summary of Defects

Summary of Facts

Inspection Agreement

## PROPERTY INSPECTION REPORT

Prepared For:

(Name of Client)

Concerning:

(Address or Other Identification of Inspected Property)

By:  		Roland Huettel, Professional Real Estate Inspector, TREC #4849,

(Name and License Number of Inspector)				                (Date)

Residential Code Inspector, ICC #5168939-R5, Building Analyst, BPI #06583

(Name, License Number and Signature of Sponsoring Inspector, if required)

This property inspection report may include an inspection agreement (contract), addenda, and other information related to property conditions.  If any item or comment is unclear, you should ask the inspector to clarify the findings. It is important that you carefully read ALL of this information.

This inspection is subject to the rules (“Rules”) of the Texas Real Estate Commission (“TREC”), which can be found at www.trec.state.tx.us.

The TREC Standards of Practice (Sections 535.227-535.233 of the Rules) are the minimum standards for inspections by TREC-licensed inspectors.  An inspection addresses only those components and conditions that are present, visible, and accessible at the time of the inspection.  While there may be other parts, components or systems present, only those items specifically noted as being inspected were inspected.  The inspector is NOT required to turn on decommissioned equipment, systems, utility services or apply an open flame or light a pilot to operate any appliance.The inspector is NOT required to climb over obstacles, move furnishings or stored items.  The inspection report may address issues that are code-based or may refer to a particular code; however, this is NOT a code compliance inspection and does NOT verify compliance with manufacturer’s installation instructions.  The inspection does NOT imply insurability or warrantability of the structure or its components.  Although some safety issues may be addressed in this report, this inspection is NOT a safety/code inspection, and the inspector is NOT required to identify all potential hazards.

In this report, the inspector shall indicate, by checking appropriate boxes on the form, whether each item was inspected, not inspected, not present or deficient and explain the findings in the corresponding section in the body of the report from The inspector must check the Deficient (D) box if a condition exists that adversely and materially affects the performance of a system or component or constitutes a hazard to life, limb or property as specified by the TREC Standards of Practice. General deficiencies include inoperability, material distress, water penetration, damage, deterioration, missing components, and unsuitable installation.  Comments may be provided by the inspector whether or not an item is deemed deficient. The inspector is not required to prioritize or emphasize the importance of one deficiency over another.

Some items reported as Deficient may be considered life-safety upgrades to the property. For more information, refer to Texas Real Estate Consumer Notice Concerning Recognized Hazards or Deficiencies below.

This property inspection is not a technically exhaustive inspection of the structure, systems, or components. The inspection may not reveal all deficiencies.  A real estate inspection helps to reduce some of the risk involved in purchasing a home, but it cannot eliminate these risks, nor can the inspection anticipate future events or changes in performance due to changes in use or occupancy.  It is recommended that you obtain as much information as is available about this property, including any seller’s disclosures, previous inspection reports, engineering reports, building/remodeling permits, and reports performed for or by relocation companies, municipal inspection departments, lenders, insurers, and appraisers.  You should also attempt to determine whether repairs, renovation, remodeling, additions, or other such activities have taken place at this property.  It is not the inspector’s responsibility to confirm that information obtained from these sources is complete or accurate or that this inspection is consistent with the opinions expressed in previous or future reports.

Items identified in the report do not obligate any party to make repairs or take other action, nor is the purchaser required to request that the seller take any action.  When a deficiency is reported, it is the client’s responsibility to obtain further evaluations and/or cost estimates from qualified service professionals. Any such follow-up should take place prior to the expiration of any time limitations such as option periods.

Promulgated by the Texas Real Estate Commission (TREC) P.O. Box 12188, Austin, TX 78711-2188           (512) 936-3000 (http://www.trec.texas.gov)						                            REI 7-3 (Revised 05/2013)

Evaluations by qualified tradesmen may lead to the discovery of additional deficiencies which may involve additional repair costs.  Failure to address deficiencies or comments noted in this report may lead to further damage of the structure or systems and add to the original repair costs.  The inspector is not required to provide follow-up services to verify that proper repairs have been made.

Property conditions change with time and use. For example, mechanical devices can fail at any time, plumbing gaskets and seals may crack if the appliance or plumbing fixture is not used often, roof leaks can occur at any time regardless of the apparent condition of the roof, and the performance of the structure and the systems may change due to changes in use or occupancy, effects of weather, etc. These changes or repairs made to the structure after the inspection may render information contained herein obsolete or invalid. This report is provided for the specific benefit of the client named above and is based on observations at the time of the inspection. If you did not hire the inspector yourself, reliance on this report may provide incomplete or outdated information. Repairs, professional opinions or additional inspection reports may affect the meaning of the information in this report. It is recommended that you hire a licensed inspector to perform an inspection to meet your specific needs and to provide you with current information concerning this property.

Texas Real Estate Consumer Notice Concerning Hazards or Deficiencies

Each year, Texans sustain property damage and are injured by accidents in the home. While some accidents may not be avoidable, may other accidents, injuries, and deaths may be avoided through the identification and repair of certain hazardous conditions. Examples of such hazards include:

- malfunctioning, improperly installed, or missing ground fault circuit protection (GFCI) devices for electrical receptacles in garages, bathrooms, kitchens, and exterior areas;

- malfunctioning arc fault protection (AFCI) devices;

- ordinary glass in locations where modern construction techniques call for safety glass;

- malfunctioning or lack of fire safety features such as smoke alarms, fire-rated doors in certain locations, and functional emergency escape and rescue openings in bedrooms;

- malfunctioning carbon monoxide alarms;

- excessive spacing between balusters on stairway and porches;

- improperly installed appliances;

- improperly installed or defective safety devices; and

- lack of electrical bonding and grounding.

To ensure that consumers are informed of hazards such as these, the Texas Real Estate Commission (TREC) has adopted Standards of Practice requiring licensed inspectors to report these conditions as “Deficient” when performing an inspection for a buyer or seller, if they can be reasonably determined.

These conditions may not have violated building codes or common practices at the time of the construction of the home, or they may have been “grandfathered” because they were present prior to the adoption of codes prohibiting such conditions. While the TREC Standards of Practice do not require inspectors to perform a code compliance inspection, TREC considers the potential for injury or property loss from the hazards addressed in the Standards of Practice to be significant enough to warrant this notice.

Contract forms developed by TREC for use by its real estate licensees also inform the buyer of the right to have the home inspected and can provide an option clause permitting the buyer to terminate the contract within a specified time. Neither the Standards of Practice nor the TREC contract forms require a seller to remedy conditions revealed by an inspection. The decision to correct a hazard of any deficiency identified in an inspection report is left to the parties to the contact for the sale or purchase of the home.

ADDITIONAL INFORMATION PROVIDED BY INSPECTOR

-Front of home (facing street) was facing:  S (as you face this front, your right/left is identified in report as right/left)

-Ambient temperature and time at beginning of inspection: - 65 degrees Fahrenheit / 10:30 am

-Weather conditions:  sunny rainy cloudy

-Present during the inspection: - n/a

Note: a professional inspection requires a controlled environment and the presence of anyone other than the inspector during the actual inspection is discouraged.

-Utilities turned on at the time of the inspection? – Yes / No

Note: in case some utilities or pilot lights were off at the time of the inspection, the client should consider a re-inspection prior to closing.

-Property vacant at the time of the inspection? – Yes / No

Note: furnishings and belongings of any occupants will not allow the inspector to access or view all accessible areas of the home. A careful walk-through prior to closing is recommended.

-Sellers’ disclosure available to inspector for review? – Yes / No

Note: we recommend you carefully read the seller’s disclosure notice prior to closing.

-Energy Audit disclosure available to inspector for review? – Yes / No

Note: we can interpret an already performed audit for the client at no extra charge

How to read your report:

> GREY HIGHLIGHTS provide “bonus” information specific to the inspected home (i.e. HVAC details, depth of attic insulation, plumbing supply pressure, etc.).

> BLUE PRINT comments indicate items in serviceable (or functional) condition. However, we recommend you read the seller's disclosure notice, purchase a "home warranty" and call us with any questions you may have regarding this report, prior to closing.

> BOLD PRINT comments indicate items deemed defective, unsafe or in need of upgrading. NOTE: We recommend you only hire licensed and qualified individuals to perform any kind of work identified. DO NOT limit you report reading to the comments in bold print since other relevant information may be added in regular print. A summary page can be viewed at the end of this report.

> GREY PRINT code-references provide the client with additional information/authority.

Note: codes may not always be referenced and do not indicate by themselves an issue as “deficient” (a referenced code may or may not have been in existence or enforced at the time and place of the home’s construction). While this inspection report is based on the most current codes, it is not a code inspection per se. Local authorities may or may not have adopted specific items in a given timeframe. Nothing (other than your contract) requires a home owner to bring an item up to today's code.

> eco.LINKS provide the client with easy-access to online information regarding repair work, where appropriate. Note: we recommend you hire licensed and qualified individuals to perform any kind of work identified. eco.inspections assumes no liability for any repair work.

> eco.TIPS in GREEN PRINT are. suggestions only, intended to provide the client with information regarding energy-efficient, healthy and comfortable living. These tips follow guidelines set forth by the City of Austin Green Building Program and Water Conservation Program as well as the EPA (U.S. Environmental Protection Agency) and the DOE (U.S. Department of Energy)

> PHOTOS INSERTED BELOW COMMENTS regarding property conditions found at the time of the inspection are solely intended to serve the written content of the report.  Note: not all items in need of repair can or will be photographed.

-Thank you for giving us the opportunity to be of assistance to you. Keep in mind that you can always call with any questions and save this report on your computer!

Additional pages may be attached to this report. Read them very carefully. This report may not be complete without the attachments. If an item is present in the property but not inspected, the “NI” column will be checked and an explanation is necessary. Comments may be provided by the inspector whether or not an item is deemed in need of repair.

### I=Inspected	            NI=Not Inspected		NP=Not Present	           D=Deficient

## I       NI     NP     D					Inspection Item

I.    STRUCTURAL SYSTEMS

A. Foundations (If all crawl space areas are not inspected, provide an explanation.)

Type of Foundation(s): 
Comments:  [ Inspection Guidelines ]

[ Maintenance Guide ]

> Concrete slab on grade, laid in approx.

.

> The foundation appeared to be properly supporting all imposed loads at the time of the inspection. No evidence of excessive movement or structural failure was observed.
Note: not all of slab was visible due to installed floor coverings. Foundations on clay-based soils (common in Central Texas) require adequate and evenly-distributed moisture around the perimeter of the foundation to prevent excessive movement.

.

>

B. Grading and Drainage

Comments: [ Inspection Guidelines ]

Grading:  [ Maintenance Guide ]

Note: subsurface drain lines, if present, were not inspected.

>

.

> The lot appeared to be graded so as to drain surface water away from the foundation walls/perimeter at the time of the inspection. .

.

>

> eco.TIP: Shade trees should be planted on the East and West sides of the house. Water-efficient Bermuda or buffalo grass should be planted in sunny areas.

Ask for the City of Austin’s Preferred Plant list as a guide for plants, shrubs and trees that grow successfully in the Central Texas climate.

Drainage: [ Maintenance Guide ]

Note: Installation of new or additional gutters is not generally recommended (potential for an unwanted change in the established moisture pattern around the foundation perimeter).

>

.

> The drainage of any roof run-off appeared to be properly facilitated at the time of the inspection. 
.

>

> eco.TIP: Gutters and downspouts should be located to direct water away from the house.

C. Roof Covering Materials

Types of Roof Covering(s):
Viewed From:
Comments: [ Inspection Guidelines ]

Main Roof Cover:  [ Maintenance Guide ]

Note: the inspector walked the roof cover for an adequate, close-up inspection.

>

.

> The main roof cover appeared to be in serviceable condition at the time of the inspection. All roof penetrations appeared to be adequately flashed.
.

>

> eco.TIP: When replacing your roof covering, choose a light colored material and consider the longer life-spans of metal or tile (vs. asphalt shingles)

2nd Roof Cover:

>

.

> N/A.

>

3rd Roof Cover:

>

.

> N/A.

>

D. Roof Structures and Attics

Viewed From:
Approximate Average Depth of Insulation:
Approximate Average Thickness of Vertical Insulation: 4”
Comments:

Roof Structure:  [ Inspection Guidelines ] [ Maintenance Guide ]

Note: the inspector accessed the attic space and viewed the accessible areas.

>

.

> The roof structure appeared to be in serviceable condition at the time of the inspection. The roof deck appeared to be reasonably level, indicating adequate performance of the attic bracing.

.

>

Attic Insulation:  [ Inspection Guidelines ] [ Maintenance Guide ]

Note: R-value of 30 is current minimum building code requirement (R-22 for vaulted ceilings). Depth of insulation was measured at low and high spots to determine an approximate average.

>

.

> The attic insulation was more or less evenly distributed and appeared to be in serviceable condition at the time of the inspection.
.

>

> eco.TIP: Adequate attic insulation (10 inches plus and evenly distributed) and an attic radiant barrier (reflective foil) can increase the energy-efficiency of your home.

Attic Ventilation:  [ Inspection Guidelines ] [ Maintenance Guide ]

>

.

> Air circulation through the attic space appeared to be in serviceable condition at the time of inspection.

.

>

> eco.TIP: Adequate attic ventilation (combination of soffit vents, gable vents and continuous ridge vents) can increase the energy-efficiency of your home. A whole house attic fan can be used to quickly exhaust stale indoor air for improved comfort.

E. Walls (Interior and Exterior)

Comments:

Interior Walls: [ Inspection Guidelines ]

Note: not all of the interior walls may have been visible due to installed wall coverings, furniture, stored items, etc.

>

.

> The interior walls appeared to be in serviceable condition at the time of the inspection.
.

>

> eco.TIP: Avoid paints, finishes and glues containing volatile organic compounds (VOCs). The VOC fumes can cause headaches, allergic reactions and other health problems.

Exterior Walls:  [ Inspection Guidelines ] [ Maintenance Guide ]

>

.

> The exterior walls appeared to be in serviceable condition at the time of the inspection.

.

>

> eco.TIP: Long walls and walls facing west will experience maximum solar heat gain. Overhangs, porches, awnings and trees can provide shade and protect exterior wall coverings from weathering.

F. Ceilings and Floors

Comments:

Ceilings: [ Inspection Guidelines ]

>

.

> The ceilings appeared to be in serviceable condition at the time of the inspection.

.

>

Floors: [ Inspection Guidelines ]

Note: not all floors may have been visible due to installed floor coverings, furniture, stored items, etc.

>

.

> The floors appeared to be in serviceable condition at the time of the inspection.
.

>

> eco.TIP: Hard flooring surfaces, such as concrete, tile or wood and flooring made of natural materials such as wool, jute, seagrass, cork or linoleum can improve indoor air quality and increase comfort.

G. Doors (Interior and Exterior)

Comments: [ Inspection Guidelines ] [ Maintenance Guide ]

>

.

> The doors appeared to be in serviceable condition at the time of the inspection. Weather stripping was installed @ all exterior doors, incl. door between garage and living space and all water heater/mechanical closet doors.

.

>

> eco.TIP: Keep interior doors open when possible during the cooling and heating season to ensure proper air exchange through your central air conditioning system and keep exterior doors properly weather stripped to prevent unwanted air infiltration.

H. Windows

Comments: [ Inspection Guidelines ]

Window Type(s): [ Maintenance Guide ]

Note: only accessible windows were inspected and only a representative number of these windows were checked for proper operation. Defective thermal-pane windows may not always be visible due to dirty glass surfaces and/or weather conditions at the time of the inspection.

>

.

> The windows appeared to be in serviceable condition at the time of the inspection. Safety glass appeared to be installed where needed.

>

> eco.TIP: Solar screens and low-e glass @ unshaded windows will increase the energy-efficiency of your home (except on the north side). Consider solar tubes as an additional light-source without heat gain (rather than skylights). Most windows should be facing North and South and be positioned for cross-breezes. (Rooms have windows on two walls)

I. Stairways (Interior and Exterior)

Comment:
> Please refer to notes at “F. Ceilings and Floors”
.
> 
.
>

J. Fireplaces and Chimneys

Comments:

Fireplace:  [ Inspection Guidelines ]

>

.

> The fireplace appeared to be in serviceable condition at the time of the inspection. The damper was operational.

.

>

Chimney:  [ Inspection Guidelines ]  [ Maintenance Guide ]

Note: client is advised to have chimney-sweep inspect all components periodically (depending on frequency and type of use).

>

.

> The chimney appeared to be in serviceable condition at the time of the inspection. A chimney cap was installed.

.

>

K. Porches, Balconies, Decks and Carports

Comments:

Attached: [ Inspection Guidelines ]

>

.

> N/A.

>

> eco.TIP: Decks that are not made of solid wood have a longer life-span with less

maintenance.

L. Other

Comments: [ Maintenance Guide ]

Other:

Note: we do not inspect fences, tool sheds, water ponds, electric gates, playground equipment or sport courts.

> Location of main cut-offs: 
-Water (meter/homeowner shut-off): -.

-Electricity: -.

-Gas: -.

> N/A.

>

II.    ELECTRICAL SYSTEMS

A. Service Entrance and Panels

Comments:

Service Entrance: [ Inspection Guidelines ]  [ Maintenance Guide ]

>

.

> The service entrance appeared to be in serviceable condition at the time of the inspection.

.

>

Main Panel: [ Inspection Guidelines ]

>

.

> The main panel appeared to be in serviceable condition at the time of inspection. All breakers appeared to be properly labeled.

.

>

Sub Panel: [ Inspection Guidelines ]

>

.

> The sub panel appeared to be in serviceable condition at the time of inspection. All breakers appeared to be properly labeled.

.

>

B. Branch Circuits, Connected Devices, and Fixtures

Type of Wiring:
Comments: [ Inspection Guidelines ]  [ Maintenance Guide ]

Outlets:

Note: only a representative number of interior outlets were checked since not all outlets may have been accessible (due to furniture, stored items, etc.).

> Copper wiring for all 120V branch circuits was installed.

.

> The wiring and outlets appeared to be in serviceable condition at the time of the inspection. AFCI-fire safety and GFCI-occupant safety protection was installed where needed.
.

>

Devices:

Note: lights operating with motion detectors and photo sensors are not inspected. Landscape and/or exterior low-voltage ground lighting are not inspected.

>

.

> Connected devices appeared to be in serviceable condition at the time of the inspection.
.

>

> eco.TIP: When buying new light fixtures, remember to look for the

“ENERGY STAR” label, a label created by the EPA and DOE to promote appliances that help save energy and money. For more info call the toll-free Hotline at 1-888-STAR-YES or visit: http://www.energystar.gov/

Exterior lights, operating with photo sensors and motion detectors can conserve energy.

III.    HEATING, VENTILATION, AND AIR CONDITIONING SYSTEMS

A. Heating Equipment

Type and Energy Source: [ Inspection Guidelines ]  [ Maintenance Guide ]

> Central HVAC system, natural gas

Note: for your safety and comfort, we recommend the heating system be serviced before each heating season. Inspection of the heat exchanger of a gas-fired furnace requires disassembly by licensed personnel and is outside the scope of this inspection.

Heating Unit #1:                                   -

Model#:                                                  -

Location:                                               -

Make:                                                     -

Manufactured:                                      -

Temperature Rise

(only if Heat Pump or Electric Heat):   -

Return Air Temperature:                       -

Supply Air Temperature:                       -

>

.

> The heating unit #1 appeared to be in serviceable condition at the time of the inspection. 
.

>

Heating Unit #2:

>

.

> N/A.

>

.

Heating Unit #3:

>

.

> N/A.

>

.

> eco.TIP: An Energy Guide label should be indicating that the appliance is in the top 25% of the efficiency scale. When buying heating and cooling equipment, remember to look for the “ENERGY STAR” label, a label created by the EPA and DOE to promote appliances that help save energy and your money. For more info call the toll-free Hotline at 1-888-STAR-YES or visit: http://www.energystar.gov/

B. Cooling Equipment

Type and Energy Source: [ Inspection Guidelines ]  [ Maintenance Guide ]

> Central HVAC-system: electric

Note: for your safety and comfort, we recommend the cooling system be serviced before each cooling season. The primary condensate drain line should be flushed with a bleach/water solution at least once a year to prevent clogging.

Cooling Unit #1:                                                  -

Outdoor Coil Model#:                                         -

Make:                                                                   -

Manufactured:                                                     -

EER (Energy Efficiency Rating,

should range from 10 to 17):                               -n/a

Indoor Coil Model#:                                            -

Location:                                                              -

Make:                                                                   -

Manufactured:                                                     -

Return  Air Temperature:                                    -

Supply  Air Temperature:                                    -

Temperature Differential

(normal range is between 16 and 24 degrees):   -

>

.

> The cooling unit #1 appeared to be in serviceable condition at the time of the inspection.

.

>

Cooling Unit #2:

>

.

> N/A.

>

.

Cooling Unit #3:

>

.

> N/A.

>

.

> eco.TIP: Exchange filters frequently (a clean air filter affects the quality of the air you breathe and increases the life span of the equipment). 
Ceiling fans in all major rooms can provide additional comfort.

A whole house fan, located in the attic can cool the house during warm and humid weather while the air-conditioning is turned off. A programmable thermostat and an optimally sized air-conditioner with a cooling efficiency of 13 SEER or higher can increase the energy-efficiency of your home.

C. Duct Systems, Chases and Vents

Comments: [ Inspection Guidelines ]  [ Maintenance Guide ]

Ducts:

Note: Duct leakage is a common but difficult-to-spot “defect” especially in homes built before 1995. You should consider the air distribution system the “lungs” of your home and dedicate appropriate attention to it (as we will attempt during our inspection). Air flow to the various areas and air-tightness of the duct system was not measured unless indicated below. Duct repairs/improvements are relatively low in cost; flow adjustments are generally possible (by a licensed HVAC-contractor) and may be desirable to satisfy your personal comfort-needs.

Note: no make-up air and/or positive air ventilation devices were observed at the time of the inspection unless otherwise stated (negative air pressure within the building, caused by common duct leakage, may draw contaminants into indoor environment).

>

.

> The air distribution system appeared to be in serviceable condition at the time of the inspection. No significant duct leaks were observed.

Duct leakage rate (if measured):  n/a

.

>

> eco.TIP: Ductwork can be pressure-tested for leaks with a “duct-blaster”. (Most houses loose approx. 25% of their conditioned air through leaks in the ductwork. This affects utility bills, indoor air quality and household safety.) Air flow can be measured with a “flow hood” (many houses have bedrooms too hot or too cold due to inadequate supply flow/duct size.

Vents:

>

.

> The furnace vent(s) appeared to be in serviceable condition at the time of the inspection.

.

>

IV.    PLUMBING SYSTEM

A. Plumbing Supply, Distribution Systems and Fixtures

Location of Water Meter:
Location of Main Water Supply Valve:
Static Water Pressure Reading:
Comments: [ Inspection Guidelines ]  [ Maintenance Guide ]

Supply Lines:

Note: pipes, plumbing equipment, and reservoirs concealed in enclosures or underground are not inspected for leaks or any other defects. Any plumbing concealed in walls, in or under concrete slabs or behind personal belongings are not included in this inspection. Water purification/filtering/softening and reverse osmosis systems are not inspected.

>

.

> Visible supply lines were copper.

> The supply piping appeared to be in serviceable condition at the time of inspection.
No dial movement was observed during a 30-second check at the water meter (if located, with no fixtures running).

.

>

Fixtures:

Note: All fixtures were operated for 1 minute to check for leaks. Shower enclosure fixtures were operated for at least 5 minutes to check for leaks. Refrigerator supply lines and valves are not inspected.

>

.

> The connected fixtures appeared to be in serviceable condition at the time of inspection.

.

>

> eco.TIP: Water-saver toilets (1.6 ga. per flush) and shower heads can help reduce water consumption. (For rebates and more information, contact the Water Conservation Program @ 512-499-2199, or visit http://www.ci.austin.tx.us/watercon/).

B. Drains, Wastes, and Vents

Comments:

Note: Laundry equipment was not operated to check the connected supply or drain lines. Exterior drain clean-outs may not have been inspected (if at all present) due to unknown location and/or uncertainty of presence.

> Visible drain lines were PVC.

.

> The drain, waste and plumbing vent lines appeared to be in serviceable condition at the time of inspection. No drain lines were backing up during a prolonged fixture operation.
.

>

C. Water Heating Equipment (Report as in need of repair those conditions specifically listed as recognized  hazards by TREC rules.)

Energy Source:  [ Inspection Guidelines ]  [ Maintenance Guide ]
Capacity:
Comments:

Water Heater #1:

Note: The temperature and pressure relief valve(s) was/were not tested at the time of the inspection. (valves often do not reset properly after testing)

Energy Source:  -
Location:           -

Capacity:           -

Make:                -

Manufactured:  -

>

.

> The water heater #1 appeared to be in serviceable condition at the time of inspection.
Hot water delivery was verified at all fixtures designed for hot water flow.

.

>

Water Heater #2:

>

.

> N/A.

>

.

Water Heater #3:

>

.

> N/A.

>

D. Hydro-Massage Therapy Equipment

Comments: [ Inspection Guidelines ]

>

.

> N/A.

>

E. Other

Comments:

V.    APPLIANCES

A. Dishwashers

Comments: [ Inspection Guidelines ]  [ Maintenance Guide ]

>

.

> The dishwasher appeared to be in serviceable condition at the time of the inspection.
Unit completed normal cycle, was mounted securely and without signs of corrosion at interior. Door seals, spray arms and soap dispenser appeared to be functional.

.

>

> eco.TIP: An Energy Guide Label should be indicating that the appliance is in the top 25% of the efficiency scale. When buying heating and cooling equipment, remember to look for the “ENERGY STAR” label, a label created by the EPA and DOE to promote appliances that help prevent air pollution and save money. For more info call the toll-free Hotline at 1-888-STAR-YES or visit: http://www.energystar.gov/

B. Food Waste Disposers

Comments: [ Inspection Guidelines ]  [ Maintenance Guide ]

>

.

> The disposer appeared to be in serviceable condition at the time of the inspection.
Unit operated without excessive noise/vibration/leaks.

.

>

C. Range Hood and Exhaust Systems

Comments: [ Inspection Guidelines ]

Type:

>

.

> The range hood appeared to be in serviceable condition at the time of the inspection.

.

>

D. Ranges, Cooktops and Ovens

Comments:

Cooktop/Range: [ Inspection Guidelines ]  [ Maintenance Guide ]

> A gas cooktop/range was installed.

.

> The cooktop/range appeared to be in serviceable condition at the time of the inspection.

.

>

Oven: [ Inspection Guidelines ]  [ Maintenance Guide ]

> A gas oven was installed.

.

> The oven appeared to be in serviceable condition at the time of the inspection. 
Note: 350 degree setting was measured @ 350 degrees (+/- 25 degrees).

.

>

> eco.TIP: An Energy Guide label should be indicating that the appliance is in the top 25% of the efficiency scale.

E. Microwave Ovens

Comments: [ Inspection Guidelines ]

>

.

> N/A.

>

F. Mechanical Exhaust Vents and Bathroom Heaters

Comments: [ Inspection Guidelines ]

Note: due to limited attic access, proper termination of exhausts at exterior was not determined conclusively.

>

.

> The bathroom exhaust fans and/or heaters appeared to be in serviceable condition at the time of the inspection. 
.

>

> eco.TIP: Venting bathrooms, kitchen and laundry areas through either exhaust fans or windows to the outside air can improve indoor air quality and increase comfort.

G. Garage Door Operators

Comments: [ Inspection Guidelines ]  [ Maintenance Guide ]

Note: Client should consider adding optical eye reversing mechanism for added safety (if not already installed).
Remote transmitters and keypads are not inspected.

>

.

> The garage door operator(s) appeared to be in serviceable condition at the time of the inspection. Reversing mechanism was operational.

.

>

H. Dryer Exhaust Systems

Comments: [ Inspection Guidelines ]

Vent termination:

Note: termination of dryer vent was verified without air flow present to confirm adequate performance.

>

.

> The dryer vent appeared to be in serviceable condition at the time of the inspection. Vent termination was located during the inspection (however, not verified by airflow).

.

>

I. Other

Comments: [ Inspection Guidelines ]

Note: telephone, cable and speaker wiring, intercoms and antenna systems are not inspected.

>

.

> The door bell appeared to be in serviceable condition at the time of the inspection.
.

>

VI.    OPTIONAL SYSTEMS

A. Landscape Irrigation (Sprinkler) Systems

Comments: [ Inspection Guidelines ]

>

.

> N/A .

>

> eco.TIP: When installing an irrigation system, choose one that conserves water by using devices such as valves with manual flow control, a rain shut-off and a timer with multiple start times.

B. Swimming Pools, Spas, Hot Tubs and Equipment

Comments:

>

> N/A

>

> eco.TIP: Adding a pool cover will reduce energy costs as well as protect small children, non swimmers, pets or uninvited guests.

C. Outbuildings

Comments: [ Inspection Guidelines ]

>

> N/A

>

D. Private Water Wells (A coliform analysis is recommended.)

Type of Pump:

Type of Storage Equipment:

Comments:

>

> N/A

>

E. Private Sewage Disposal (Septic) Systems

Type of System:
Location of Drain Field:
Comments:

>

> N/A

>

F. Other

Comments: [ Inspection Guidelines ]  [ Maintenance Guide ]

> .

> N/A.

> .

###### eco.inspections, Inc. Invoice

Invoice Date/

Inspection Date:

Report #:

Subject Property Address:

Austin, TX

Client’s Name and Address:

n/a

-,

INSPECTION FEES

| Description and Amount: |  |
| --- | --- |
|  | $325.00 |
| Sub Total: | $ 325.00 |
| Payment: | 325 |
| Total Due: | $ 0.00 |

Please make check payable to eco.inspections, Inc. and send to:

eco.inspections, Inc.

4708 Roundup Trl.

Austin, TX 78745

# TEXAS OFFICIAL WOOD DESTROYING INSECT REPORT 		Page 1 of 3

|  | Austin |  |
| --- | --- | --- |
| Inspected Address | City | Zip Code |

# SCOPE OF INSPECTION

- A.	This inspection covers only the multi-family structure, primary dwelling or place of business.  Sheds, detached garages, lean-tos, fences, guest houses or any other structure will not be included in this inspection report unless specifically noted in Section 5 of this report.

- B. 	This inspection is limited to those parts of the structure(s) that are visible and accessible at the time of the inspection.  Examples of inaccessible areas include but are not limited  to (1) areas concealed by wall coverings, furniture, equipment and stored articles and (2) any portion of the structure in which inspection would necessitate removing or defacing any part  of the structure(s) (including the surface appearance of the structure).  Inspection does not cover any condition or damage which was not visible in or on the structure(s) at time of inspection but which may be revealed in the course of repair or replacement work.

- C.	Due to the characteristics and behavior of various wood destroying insects, it may not always be possible to determine the presence of infestation without

- defacing or removing parts of the structure being inspected.  Previous damage to trim, wall surface, etc., is frequently repaired prior to the inspection with putty, spackling, tape or other decorative devices.  Damage that has been concealed or repaired may not be visible except by defacing the surface appearance.  The WDI inspecting company cannot guarantee or determine that work performed by a previous pest control company, as indicated by visual evidence of previous treatment; has rendered the pest(s) inactive.

- D.	If visible evidence of active or previous infestation of listed wood destroying insects is reported, it should be assumed that some degree of damage is

- present.

- E.	If visible evidence is reported, it does not imply that damage should be repaired or replaced.  Inspectors of the inspection company usually are not engineers

- or builders qualified to give an opinion regarding the degree of structural damage.  Evaluation of damage and any corrective action should be performed by a qualified expert.

- F. 	THIS IS NOT A STRUCTURAL DAMAGE REPORT OR A WARRANTY AS TO THE ABSENCE OF WOOD DESTROYING INSECTS.

- G.	If termite treatment (including pesticides, baits or other methods) has been recommended, the treating company must provide a diagram of the structure(s)

- inspected and proposed for treatment, label of pesticides to be used and complete details of warranty (if any).  At a minimum, the warranty must specify which areas of the structure(s) are covered by warranty, renewal options and approval by a certified applicator in the termite category.  Information regarding treatment and any warranties should be provided by the party contracting for such services to any prospective buyers of the property.  The inspecting company has no duty to provide such information to any person other than the contracting party.

- H.	There are a variety of termite control options offered by pest control companies.  These options will vary in cost, efficacy, areas treated, warranties,

- treatment techniques and renewal options.

- I.	There are some specific guidelines as to when it is appropriate for corrective treatment to be recommended.  Corrective treatment may only be

- recommended if (1) there is visible evidence of an active infestation in or on the structure, (2) there is visible evidence of a previous infestation with no

- evidence of a prior treatment.

- J.	If treatment is recommended based solely on the presence of conducive conditions, a preventive treatment or correction of conducive conditions may be

- recommended.  The buyer and seller should be aware that there may be a variety of different strategies to correct the conducive condition(s).  These

- corrective measures can vary greatly in cost and effectiveness and may or may not require the services of a licensed pest control operator.  There may be

- instances where the inspector will recommend correction of the conducive conditions by either mechanical alteration or cultural changes.  Mechanical

- alteration may be in some instances the most economical method to correct conducive conditions.  If this inspection report recommends any type of treatment

- and you have any questions about this, you may contact the inspector involved, another licensed pest control operator for a second opinion, and/or the

- Texas Department of Agriculture.

- 1A.	eco.inspections, Inc.						1B.		TDA TPCL 0614881

- Name of Inspection Company						SPCB Business License Number

- 1C.	4708 Roundup Trail						Austin		TX		78745		512-784-3429

- Address of Inspection Company				                   City		State		Zip		Telephone No.

- 1D.	Roland Huettel							1.E Certified Applicator		[ x ]	(check one)

- Name of Inspector (Please Print)						      Technician                  	[  ]

- 2.	n/a						3.

- Case Number (VA/FHA/Other)						Inspection Date

- 4A.	     		Seller  [  ]  Agent  [  ]  Buyer  [ x ]  Management Co.  [  ]  Other  [  ]

- Name of Person Purchasing Inspection

- 4B.	unknown

- Owner/Seller

- 4C.REPORT FORWARDED TO:	Title Company or Mortgagee  [  ]	Purchaser of Service  [ x ]	Seller  [ ]		Agent  [ x ]		Buyer  [ x ]

- (Under the Structural Pest Control regulations only the purchaser of the service is required to receive a copy)

- The structure(s) listed below were inspected in accordance with the official inspection procedures adopted by the Texas Department of Agriculture.  This report is made subject to the conditions listed under the Scope of Inspection.  A diagram must be attached including all structures inspected.

- 5. 	Single Family Dwelling

- List structure(s) inspected that may include residence, detached garages and other structures on the property.  (Refer to Part A, Scope of Inspection)

- Licensed and Regulated by the Texas Department of Agriculture

- Structural Pest Control Service

- P.O. Box 12847; Austin, Texas  78711-2847

- SPCB/T-4 (Rev. 09/01/07)                                                      866-918-4481; (FAX) 888-232-2567                                    Buyer’s Initials	___________

# TEXAS OFFICIAL WOOD DESTROYING INSECT REPORT 		Page 2 of 3

|  | Austin |  |
| --- | --- | --- |
| Inspected Address | City | Zip Code |

- 6A.Were any areas of the property obstructed or inaccessible?		Yes	[ x ]		No 	[  ]

- (Refer to Part B & C, Scope of Inspection)  If “Yes” specify in 6B.

- 6B.The obstructed or inaccessible areas include but are not limited to the following:

- Attic			[  ]	Insulated area of attic	[ x ]	Plumbing Areas	[ x ]	Planter box abutting structure	[  ]

- Deck			[  ]	Sub Floors		[  ]	Slab Joints		[  ]	Crawl Space		[  ]

- Soil Grade Too High		[  ]	Heavy Foliage	[  ]	Eaves		[  ]	Weepholes			[  ]

- Other			[  ]	Specify: -

- 7A.Conditions conducive to wood destroying insect infestation:		Yes	[ x ]		No 	[  ]

- (Refer to Part J, Scope of Inspection)  If “Yes” specify in 7B.

- 7B.Conducive Conditions include but are not limited to:

- Wood to Ground Contact (G)	[  ]	Formboards left in place (l)	[  ]	Excessive Moisture (J)	[  ]

- Debris under or around structure (K)	[  ] 	Footing too low or soil line too high (L)	[  ]	Wood Rot (M)	[  ]	Heavy Foliage (N)	[  ]

- Planter box abutting structure (O)	[  ]	Wood Pile in Contact with Structure (Q)	[  ]	Wooden Fence in Contact with the Structure ( R)	[  ]

- Insufficient ventilation (T)	[  ]	Other (C) [  ]	Specify: -

- 8.Inspection Reveals Visible Evidence in or on the structure:		Active Infestation		Previous Infestation		Previous Treatment

- 8A.Subterranean Termites	Yes	[  ]	No	[ x ]	Yes	[  ]	No 	[ x ]	Yes   [  ]	No 	[ x ]

- 8B.Drywood Termites 	Yes	[  ]	No	[ x ]	Yes 	[  ]	No 	[ x ]	Yes 	[  ]	No 	[ x ]

- 8C.Formosan Termites	Yes   [  ]	No 	[ x ]	Yes 	[  ]	No 	[ x ]	Yes 	[  ]	No 	[ x ]

- 8D.Carpenter Ants	Yes   [  ]	No 	[ x ]	Yes 	[  ]	No 	[ x ]	Yes 	[  ]	No 	[ x ]

- 8E.Other Wood Destroying Insects	Yes	[  ]	No 	[ x ]	Yes 	[  ]	No 	[ x ]	Yes 	[  ]	No 	[ x ]

- Specify:

- 8F.Explanation of signs of previous treatment (including pesticides, baits, existing treatment stickers or other methods) identified: -none

- 8G.Visible evidence of:	 -none                                   has been observed in the following areas: -

- If there is visible evidence of active or previous infestation, it must be noted.  The type of insect(s) must be listed in the first blank and all identified infested areas of the property inspected must be noted in the second blank.  (Refer to Part D, E & F, Scope of Inspection)

- The conditions conducive to insect infestation reported in 7A & 7B:

- 9.Will be or has been mechanically corrected by inspecting company:						Yes	[  ]	No 	[ x ]

- If “Yes,” specify corrections:

- 9A.Corrective treatment recommended for active infestation or evidence of previous infestation with no prior treatment

- as identified in Section 8.  (Refer to Part G, H, and I, Scope of Inspection)					Yes	[  ]	No	[ x ]

- 9B.A preventive treatment and/or correction of conducive conditions as identified in 7A & 7B is recommended as follows:	Yes	[  ]	No	[ x ]

- Specify reason: -

- Refer to Scope of Inspection Part J

- 10A.This company has treated or is treating the structure for the following wood destroying insects:			N/A

- If treating for subterranean termites, the treatment was: 		Partial	[  ]	Spot	[  ]	Bait	[  ]	Other	[  ]

- If treating for drywood termites or related insects, the treatment was:	Full	[  ]	Limited	[  ]

- 10B.			N/A					N/A					N/A

- Date of Treatment by Inspecting Company			Common Name of Insect		Name of Pesticide, Bait or Other Method

- This company has a contract or warranty in effect for control of the following wood destroying insects:

- Yes	[  ]	No	[  ]	List Insects:				N/A

- If “Yes”, copy(ies) of warranty and treatment diagram must be attached.

- Licensed and Regulated by the Texas Department of Agriculture

- Structural Pest Control Service

- P.O. Box 12847; Austin, Texas  78711-2847

- SPCB/T-4 (Rev. 09/01/07)                                                      866-918-4481; (FAX) 888-232-2567                                     Buyer’s Initials	___________

# TEXAS OFFICIAL WOOD DESTROYING INSECT REPORT 		Page 3 of 3

|  | Austin |  |
| --- | --- | --- |
| Inspected Address | City | Zip Code |

- Diagram of Structure(s) Inspected

The inspector must draw a diagram including approximate perimeter measurements and indicate active or previous infestation and type of insect by using the following codes:

E-Evidence of Infestation, A-Active; P-Previous; D-Drywood Termites; S-Subterranean Termites; F-Formosan Termites; C-Conducive Conditions; B-Wood Boring Beetles;

H-Carpenter Ants; Other(s) – Specify

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Excessive Moisture |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Previous Sub- Termite Infestation |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Wood to Ground Contact |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Wood Rot |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Footing Too Low or Soil Line Too High |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Debris Under or Around Structure |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Planter Box Abutting Structure |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Concealed Slab Joint |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Formboards Left in Place |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Wooden Fence in Contact with Structure |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Heavy Foliage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Active Sub-Termite Infestation |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Insufficient Ventilation |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Wood Pile in Contact with Structure |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | -40’- x 40’ (1 square on diagram = 3’x3’) |

Entry

Additional Comments

Garage

- Neither I nor the company for which I am acting have had, presently have, or contemplate having any interest in the property.  I do further state that neither I nor the company for which I am acting is associated in any way with any party to this transaction.

- Signatures:							Notice of Inspection Was Posted At or Near

- 11A.							12A.	Electric Breaker Box		[  ]

- Inspector							Water Heater Closet		[  ]

- Bath Trap Access		[  ]

- Approved:								Beneath the Kitchen Sink	[X]

- 11B. 						0560000	12B.	Date Posted

- Certified Applicator and Certified Applicator License Number					Date

- Statement of Purchaser

- I have received the original or a legible copy of this form.  I have read and understand any recommendations made.  I have also read and understand the “Scope of Inspection.”  I understand that my inspector may provide additional information as an addendum to this report.

- If additional information is attached, list number of pages:

- Signature of Purchaser of Property or their Designee	                                                       Date

SPCB/T-4 (Rev. 09/01/07)

# INSPECTION AGREEMENT

(2 Pages - Important Information - Read carefully)

- PARTIES: The client agrees to employ eco.inspections® to provide a structural and mechanical inspection.

2. INSPECTION: eco.inspections® agrees to provide a qualified inspector who will perform the following services:

Conduct a standard inspection of the readily accessible and observable systems and components:

1. STRUCTURAL SYSTEMS:  Foundation, Grading and Drainage, Roof Covering, Roof Structure and Attic,

Walls (Exterior and Interior), Ceilings and Floors, Doors (Exterior and Interior), Windows, Fireplace/Chimney,

Attached Porches, Decks and Carports

2. ELECTRICAL: Service Entrance and Panels, Branch Circuits, Connected Devices and Fixtures

3. HEATING, VENTILATION AND AIR CONDITIONING: Heating and Cooling Equipment, Ducts and Vents,

4. PLUMBING SYSTEMS: Water Supply Systems and Fixtures, Drains, Wastes, Vents,

Water Heating Equipment

5. APPLIANCES: Dishwasher, Food Waste Disposer, Range Hood, Ranges/Ovens/Cooktops

Microwave Cooking Equipment, Trash Compactor, Bathroom Exhaust Fans and/or Heaters, Whole House Vacuum

Systems, Garage Door Openers, Door Bell and Chimes, Dryer Vents, Other Built-in Appliances

6. OPTIONAL SYSTEMS: Lawn Sprinklers, Swimming Pools and Equipment, Outbuildings, Outdoor Cooking

Equipment, Gas Lines, Water Wells, Septic Systems, Security Systems, Fire Protection Equipment,

3. REPORT: eco.inspections® agrees to provide appropriate reports according to the specific service rendered. The

report will indicate which items were inspected and which items are deficient or are not performing

the function for which they are intended. Items not included in the report shall not be considered good or bad from

lack of notation. No verbal statements by the Inspector shall expand the scope of this agreement or the inspection

report, nor will such statements be relied upon when solicited from the Inspector by the Client at the time of the

inspection or any other time. The report will be the property of the Client and may not be used

by any other person without his written consent.

4. SCOPE OF INSPECTION: The scope of inspection is limited strictly to those items listed under 2.1 to 2.5 or

requested under 2.6/2.7 of this agreement. The inspection is intended to be a practical, nondestructive examination

of the function of the building, its components and equipment. The examination is limited to visual, audible and

operational techniques.

5. INSPECTION REQUIREMENTS AND LIMITATIONS: The building, its components and equipment are to be

ready and accessible for the inspection on the scheduled date of the inspection. All utilities and pilot lights

must be on and all equipment operational so the total inspection may be completed on that date. The Inspector

is not obligated to change light bulbs, light pilots, move furniture, obstructions or floor coverings.

6. THE FOLLOWING SPECIFIC LIMITATIONS APPLY: Design problems are not within the scope of inspection.

The Inspector will not determine the operational capacity, quality or suitability for a particular use of items

inspected. No engineering, scientific or specialized technician test will be made by the Inspector. No test samples

will be taken from the roof or any other part of the structure unless specifically requested.

eco.inspections® will have no liability for latent defects that cannot be observed by a normal inspection or cannot be

determined by normal equipment operation, and it is specifically agreed and understood that: Mechanical devices

and structural components may be functional one moment and later fail or malfunction; therefore, eco.inspections®’

liability is specifically limited to those situations where it can be conclusively shown that the mechanical device or

structural component inspected was inoperable or in immediate need of repair or not performing the function for

which it was intended at the time of the inspection.

The Client recognizes that there is NO REPRESENTATION OF WARRENTY OR GUARANTEE on the future

life of items inspected. The Inspector does not take responsibility for reporting noncompliance with any building,

electrical, mechanical or plumbing codes established by municipal ordinances on any existing structure.

The intent of eco.inspections®, the Inspector statements and any or all statements on the inspection report are not

to be construed as being an endorsement or a condemnation of any appliance, system or structural component

or of the building in its entirety. Nor is it the intent to make any statement of property value.

The inspection report may not include minor settlement and minor cracks in concrete, veneer and walls within the

normal tolerance or standard that do not impair the structural function of the building. The inspection report may

not include cosmetic defects: minor cracks, scrapes, dents and scratches on, or soiled or faded surfaces of, the

structure or equipment. This includes soiled, faded, torn or dirty floor, wall or window coverings. The inspection

report is not to be construed as a total list of defects, existing or potential.

SPECIAL DISCLOSURE: It is not uncommon to observe cracks or for cracks to occur in concrete slabs or the

exterior walls. Cracks may be caused by the curing of building materials, temperature variations and soil

movement such as: settlement, uneven moisture content in the soil, shock waves, vibrations, etc. While cracks

may not necessarily affect the structural integrity of a building, cracks should be monitored so appropriate

maintenance can be performed if movement continues at an abnormal rate. Proper foundation maintenance

is the key to the prevention of initial cracks or cracks enlarging. This includes, but is not limited to, proper

watering, foundation drainage and removal of vegetation growth near the foundation.

SPECIAL NOTE: The Client is hereby advised that other adverse problems may occur at slab cracks and other

voids in the slab. Radon gas, termites and other living organisms enter a building through cracks and voids and

may be a health hazard. Cracks and voids may be sealed effectively to prevent radon gas or undesirable

organisms from entering.

eco.inspections® and the Inspector encourage the Client to obtain a second opinion from a qualified specialist

(structural engineer, licensed electrician, licensed plumber, certified factory-trained service-person, etc.) when a

condition exists that the Client questions or is concerned about. The Client has a right to have more than one

inspection or more than one Inspector.

7. DISCREPANCIES: In the event a discrepancy develops regarding the services provided to the Client, the Client

agrees to notify eco.inspections® of the problem by telephone, or otherwise, within five (5) business days and  to

allow the eco.inspections® five (5) business days to respond. In the event the problem is not resolved satisfactorily

and the Client desires to make a formal complaint, the Client shall send a written complaint to the Company

by certified mail, fully explaining which items are involved and the nature of the complaint. The Client agrees

NOT to disturb, repair or have repaired anything that may constitute evidence relating to the complaint, except in

the case of an emergency. The Client agrees to allow eco.inspections® to examine the items involved in the

written complaint and to allow eco.inspections® thirty (30) days from that date to reach agreement and resolve t

the matter. Should the matter not be resolved, the parties agree to abide by the ruling of an arbitrator appointed

by the Better Business Bureau or the court.

8. DEFENSE COST: If a lawsuit is filed by the Client against eco.inspections® , and eco.inspections® successfully

defends against the claim of the Client, the Client agrees to pay eco.inspections® reasonable attorney’s fees, court

costs and any other costs incurred in defending such claims.

eco.inspections® recommends that all repairs be completed by, or under the direction of, a qualified specialist

certified, licensed and bonded. Also, eco.inspections® recommends that the Client obtain a copy of the work order

and the paid receipt of all completed work performed on the property within the last six months.

eco.inspections® and the Inspector thank the Client for allowing them the opportunity to help the Client achieve a

total view of the Client’s new investment through this report, the eyes of an experienced “Inspector”.

If the Client has any questions concerning this report, please feel free to call (512) 784-3429.

ACCEPTED AND AGREED TO:

(Signature of Client or Representative)  _____________________________________, on_________________

Address of property to be inspected:     __________________________________________________________

# Summary of Deficiencies

Important Notice: 
Please note that this "summary" does not constitute the finished report.

It is intended to provide a more accessible overview of the home’s condition.

Careful study of the finished report is essential for a complete understanding of the inspectors' findings.

Additional information about installed systems, further details about system performances as well as system deficiencies, and in many cases photo documentation of certain property conditions as well as code references are available to the client in the above Property Inspection Report, which fully complies with the rules of the Texas Real Estate Commission (TREC).

- Structural Systems:

- Electrical Systems:

- Heating, Ventilation, and Air Conditioning Systems:

- Plumbing Systems:

- Appliances:

- Optional Systems:

Summary of Facts

eco.inspections, Inc.

##### INSPECTION ORDER FORM

| Report Identification: |  |  |  |
| --- | --- | --- | --- |
| Client First/Last: |  | Work/Day phone: |  |
| Client Address: | n/a | Home/Eve phone: |  |
| City: |  | Email: | n/a |
| State: |  |  |  |
| Zip Code: |  |  |  |
| Inspection Date: |  | # of HVAC systems: |  |
| Square Footage: |  | Age: |  |
| Slab: |  | Pier and Beam: |  |
| Property Address: |  |  |  |
| City: |  |  |  |
| State: | TX |  |  |
| Zip: |  |  |  |
| Buyer’s Agent: |  | Email: | n/a |
| Office: |  |  |  |
| Seller’s Agent: |  | Email: | n/a |
| Office: |  |  |  |

Draft Report text goes here:

ecoSecWindowNote

Roland:  see how the test data is entered here (just above) – no extra “P” at the end.  - Bruce